## Slide 1: Community Practice
Asset Management

## Slide 2: Dawson City Hall / Fire Hall
The City Hall / Fire Hall building is a two-story building constructed in 1988 and relocated to its current location in 2000. The relocation included a new concrete slab foundation, new superstructure framing, and other structural retrofits. The building mechanical systems were also updated in 2000 as part of the building retrofit.

## Slide 3: Current Replacement Value
Asset ID | STR00011
Address | 1336 Front Street
Construction Date | 1988
Conditioned Floor Area | 1114.7 m2
Number of Floors | 2
Building Use | Main Floor: City Fire Department and Museum Second Floor: City Administration and Council Chambers
Hours of Operation | 9:00 – 17:00 Monday to Friday, plus emergency year-round
Occupancy | Unknown
General Construction Type | Concrete footing, Wood and steel frame
Current Replacement Value | $4,326,000

## Slide 4: Asset Condition Assessment
Conducted by a third party consultant
Looks at all facility systems:
  Siteworks
  Exterior
  Interior
  Services (lighting/plumbing/mechanical)
  Structure
Condition of each system is ranked 1-5 (very good to very poor)
Overall condition rating can be used to establish maintenance and replacement priority

## Slide 5
Improvement Projects | Estimated Cost ($CAD) | ICC / SEB*
Condition Related Improvements |  | 
C.1 Landscape maintenance (weedkilling) and minor concrete repairs | $3,000 | 
C.2 Repair exterior light fixture and/or bulb | $250 | 
C.3 Replace exterior fuel tank and provide containment to conform to the current standards | $15,000 | 
C.4 Re-paint exterior window frames as needed | $5,000 | 
C.5 Re-paint exterior doors and repair wood on frames as needed and replace door (main level door to City Hall admin area) | $40,000 | SEB
C.6 Install soffit panel on underside of roof | $40,000? | 
C.7 Repair interior wall finishing cracks and water damage, general interior refurbishment and painting. See also # E3 below. | $15,000 | 
C.8 General refurbishment of floors and coverings | $15,000 | 
C.9 Repair door to billiards room | $500 | 
C.10 Replace wash bay sink fixtures | $500 | 
C.11 Replace elevator | $50,000 | 
C.12 Monitor cracking and conduct structural investigation | $20,000 | 
C.13 Inspect vapour barrier and insulation above Council Chamber to confirm cause of water damage and repair as needed. If roof integrity is compromised, then repair may be more significant. | $2,000 | SEB

## Slide 6
Improvement Projects | Estimated Cost ($CAD) | ICC / SEB*
Energy Related Opportunities |  | 
E.1 Fix seal on air handling unit cabinet to improve efficiency of unit. | < $500 | 
E.2 Ensure exhaust fan in the data server room is operational and sized properly to match the intake air from the door grill. May require new exhaust fan. | $2,000 | 
E.3 Review heat balance through hydronic terminal units and update heating control systems to timer or motion-controlled system in line with building occupancy. Install new ventilation controls. | $15,000 | 
E.4 Upgrade lighting through installation of LED bulbs, motion sensors and/or timers. Also maintain good behavioural practices such as procedure for switching off lights at end of day. Potentially upgrade controls in conjunction with heating controls. | $20,000 - $30,000 | 
E.5 Review heating system opportunities prior to upgrading the boilers to maximise energy efficiency from currently available technologies. | $2,000 + boiler replacement | 
E.6 Review and replace door seals as needed. | $3,000 | ICC C.5

## Slide 7: Why?
Include condition related improvements in financial planning
Identify short term maintenance goals and long-term replacement or improvement needs
Inform future funding applications or requests (ie. LED lighting)
Amortize large costs over time, and be prepared
Avoid increasing maintenance costs due to neglect